## main
Interface | Address/ID | Read response? | Save response? | Wait after [s] | COMMAND | COMMENT | PROGRES | TIME | DATA | Respect limits? | Limit LO | Limit HI | Limit Status | LABEL
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==25
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==20
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==15
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==10
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==5
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==0
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-5
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-10
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-15
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-20
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-25
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-30
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-35
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-40
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-35
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-30
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-25
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-20
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-15
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-10
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==-5
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==0
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==5
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==10
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==15
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==20
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==25
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==30
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==35
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==40
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==45
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==50
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==55
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==60
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==65
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==70
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==75
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==80
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==85
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==80
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==75
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==70
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==65
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==60
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==55
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==50
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==45
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==40
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==35
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==30
CALL_SUBSCRIPT | NAME |  |  | 0 | Temp_step;;<TEMPERATURE>==25
PAUSE |  |  |  |  | Test completed :) | Prevent from close window automatically
STOP | [5 empty] | finally, stop program

## Temp_step
Interface | Address/ID | Read response? | Save response? | Wait after [s] | COMMAND | COMMENT | PROGRES | TIME | DATA | Respect limits? | Limit LO | Limit HI | Limit Status | LABEL
==================================================================
TCP/IP | 192.168.141.28:6665 | 1 | 1 | 0 | ConsCuve = <TEMPERATURE> | set temperature
TCP/IP | 192.168.141.28:6665 | 1 | 1 | 0 | ConsHum = 0 | set humidity
TCP/IP | 192.168.141.28:6665 | 1 | 1 | 3000 | Marche_arret = 1 | enable chamber, wait long time
TCP/IP | 192.168.141.28:6665 | 1 | 1 | 0 | ?TCuve | ask for temperature
TCP/IP | 192.168.141.28:6665 | 1 | 1 | 0 | ?HumCuve | ask for humidity
CALL_SUBSCRIPT | NAME |  |  | 0 | P01 | execute P01 script
==================================================================
STOP

## P01
Interface | Address/ID | Read response? | Save response? | Wait after [s] | COMMAND | COMMENT | PROGRES | TIME | DATA | Respect limits? | Limit LO | Limit HI | Limit Status | LABEL
==================================================================
CALL_SUBSCRIPT | NAME |  |  | 0 | P01_step;;<VOLTAGE>==9.0
CALL_SUBSCRIPT | NAME |  |  | 0 | P01_step;;<VOLTAGE>==8.0
CALL_SUBSCRIPT | NAME |  |  | 0 | P01_step;;<VOLTAGE>==12.0
CALL_SUBSCRIPT | NAME |  |  | 0 | P01_step;;<VOLTAGE>==16.0
CALL_SUBSCRIPT | NAME |  |  | 0 | P01_step;;<VOLTAGE>==15.0
VISA | EA1 | 0 | 0 | 0 | SYSTem:LOCK ON; SYSTem:LOCK OFF
==================================================================
STOP

## P01_step
Interface | Address/ID | Read response? | Save response? | Wait after [s] | COMMAND | COMMENT | PROGRES | TIME | DATA | Respect limits? | Limit LO | Limit HI | Limit Status | LABEL
==================================================================
TEST <VOLTAGE> V
VISA | HMP2 | 0 | 0 | 0 | INSTrument OUT1 | Reverse actuator current // Actuator Close // NA
VISA | HMP2 | 0 | 0 | 0 | APPLy 12.1, 2.0
VISA | HMP2 | 0 | 0 | 2 | OUTPut:SELect ON
VISA | EA1 | 0 | 0 | 0 | SYSTem:LOCK ON; SOURce:VOLTage <VOLTAGE>; SOUR:CURR 30.0
VISA | EA1 | 0 | 0 | 0 | SYSTem:LOCK ON; SOURce:POWer MAX
VISA | EA1 | 0 | 0 | 2 | SYSTem:LOCK ON; OUTPut ON
VISA | EA1 | 0 | 0 | 0 | SYSTem:LOCK ON; OUTPut OFF
LIN voltage // Sensor voltage // LED voltage
VISA | HMP1 | 0 | 0 | 0 | INSTrument OUT2 | SENSOR
VISA | HMP1 | 0 | 0 | 0 | APPLy <VOLTAGE>, 3.0
VISA | HMP1 | 0 | 0 | 0 | OUTPut:SELect ON
VISA | HMP1 | 0 | 0 | 0 | INSTrument OUT3 | LED
VISA | HMP1 | 0 | 0 | 0 | APPLy <VOLTAGE>, 5.0
VISA | HMP1 | 0 | 0 | 56 | OUTPut:SELect ON
VISA | HMP2 | 0 | 0 | 0 | INSTrument OUT1 | Reverse actuator current // Actuator Open // NA
VISA | HMP2 | 0 | 0 | 2 | OUTPut:SELect OFF
VISA | EA1 | 0 | 0 | 2 | SYSTem:LOCK ON; OUTPut ON
VISA | EA1 | 0 | 0 | 56 | SYSTem:LOCK ON; OUTPut OFF
VISA | HMP1 | 0 | 0 | 0 | INSTrument OUT2
VISA | HMP1 | 0 | 0 | 0 | OUTPut:SELect OFF
VISA | HMP1 | 0 | 0 | 0 | INSTrument OUT3
VISA | HMP1 | 0 | 0 | 0 | OUTPut:SELect OFF
==================================================================
STOP